RE-MARK ALL HOSE SERIAL NUMBERS

Procedure for identifying hose & marking serial numbers

Please RE-MARK ALL of the serial numbers in all locations on all sections of hose prior to testing the section.  Rewrite the serial number in every location that it appears along the length of hose.  Rewrite them with a paint pen of contrasting color so they will not fade away before next year’s hose testing.

If the number is not legible, follow these guidelines to create a new serial number to the hose:

- The new hose serial number will mimic the original numbers that the manufacturer applied to the hose at the time of manufacture (ex. B09-077), with a few minor modifications.

- The new number will be preceded by an abbreviation for “New” and the station that created the new number.  For example: “N31-”  would indicate that this is a NEW serial number that was assigned at FS31 (not the original serial number that the factory stenciled on the hose.)

- The next letter identifies the size of the hose.

  - A = 1 ½”

  - B = 1 ¾”

  - C = 2”

  - D = 2 ½”

  - E = 3”

  - F = 4”

  - G = 5”

  - H = 6”

  - I = 1”

  - J = ¾” (or other booster line)

- Next, attempt to determine the year of manufacture for the hose.  The last two digits of the year will be the next two digits of the new serial number.  If you cannot determine the year of manufacture, please use “UU” instead of the last two digits of the year of manufacture.

- Then a dash followed by three-digit sequential number starting with 001, 002, 003…

- The new sequential numbers should not repeat for each size of hose, but may repeat for different hose sizes.  Restart the numbering sequence when you switch to a different size of hose.

  - For example, N31-B09-001, would be the first section of 1 ¾” hose that Station 31 had to renumber. (N31= new number created by Station 31; B09= 1 ¾” hose manufactured in 2009; 001= 1st number assigned by Station 31).

  - N31-BUU-002 would be the next section of 1 ¾” hose Station 31 marks, with “UU” indicating that the year of manufacture is unknown.

  - N31-F09-001 would be the first 4” hose serial number created by Station 31.

- Remember that the Station Number that is in the serial number is based on the Station that is testing and marking the hose.

- Please be sure to mark the new serial number on the hose in several places to increase the likelihood that it will still be visible next year.