Edgewood Avenue

Public Right-of-Way Construction Impacts

Side: North

Limits: Ladson to Marvin

Sidewalk Width: 5-Ft

Sidewalk Material: Concrete

Road Width: 32’ (gutter to gutter)

| ADDRESS | CONSTRUCTION IMPACTS |
| --- | --- |
| For All Addresses | Construct a 5’ wide concrete sidewalk with a 2-3’ green space. Remove a total of 200 LF of curb and replace with barrier curb. |
| 318 Ladson | Place sidewalk behind fire hydrant. Construct a retaining wall or backer curb as needed to tie into existing grade. Remove and replace concrete driveway apron. Place sidewalk behind utility pole. |
| 315 Marvin | Place sidewalk behind traffic sign and support. Remove bush. Remove and replace concrete driveway apron. Place sidewalk behind storm drain inlet structure. |

The above impacts are based on a preliminary investigation and are subject to change at any time as field conditions warrant.