## Slide 1: Montgomery College Germantown

## Slide 2: Montgomery College Germantown

## Slide 3: Montgomery College Germantown

## Slide 4: Montgomery College Germantown
Notes: WMATA to attach (2) whip antennas at 250' and (2) panel antennas at 244' on a 300’ tower owned by WSSC. Install an 11'8"x34' prefabricated shelter and (1) 1,000 gallon liquid
propane tank and backup generator within a compound expansion to the east of the fenced compound. Update LMR network.

## Slide 5: Montgomery College Germantown

## Slide 6: Montgomery College Germantown

## Slide 7: Montgomery College Germantown
Notes: Applicant submitted calculations showing that ERP value for Sinclair SE419‐SWBP2LDF(D00) was 942 Watts.